{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表","index":0,"n_rows":123,"n_cols":10,"rows_kept":123,"merged":[[1,1,1,9]],"flags":["formulas_cached_only"]}
[null,"附表1－28"]
[null,"单相电能表产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","所在省","产品名称","商标","规格型号","生产日期/批号","抽查结果","主要不合格项目","承检机构"]
[1,"北京富根智能电表有限公司","北京市","单相费控智能电能表","（图形商标）","DDZY33-Z型/220V、5(60)A、2级","2015-05-26","合格","","国家电工仪器仪表质量监督检验中心"]
[2,"北京博纳电气股份有限公司","北京市","单相费控智能电能表","（图形商标）","DDZY88-Z型/220V、5(60)A、2级","2015-06-23","合格","","国家电工仪器仪表质量监督检验中心"]
[3,"北京煜邦电力技术股份有限公司","北京市","单相费控智能电能表","（图形商标）","DDZY747C-Z型/220V、5(60)A、2级","2015-06","合格","","国家电工仪器仪表质量监督检验中心"]
[4,"北京京仪北方仪器仪表有限公司","北京市","单相费控智能电能表","（图形商标）","DDZY47-M型/220V、5(60)A、2级","2015-03","合格","","国家电工仪器仪表质量监督检验中心"]
[5,"北京海湾智能仪表有限公司","北京市","单相电子式预付费电能表","（图形商标）","DDSY1366型/220V、10(60)A、1级","2015-01-22","合格","","国家电工仪器仪表质量监督检验中心"]
[6,"石家庄科林电气股份有限公司","河北省","单相费控智能电能表","（图形商标）","DDZY1277-Z型/220V、5(60)A、2级","2015-07","合格","","国家电工仪器仪表质量监督检验中心"]
[7,"华泰联合电气有限公司","河北省","单相费控智能电能表","（图形商标）","DDZY1881-Z型/220V、5(60)A、2级","2014-12","合格","","国家电工仪器仪表质量监督检验中心"]
[8,"山西捷瑞尔仪表有限公司","山西省","单相电子式预付费电度表","（图形商标）","DDSY1797型/220V、10(40)A、1级","2015-06-01","合格","","国家电工仪器仪表质量监督检验中心"]
[9,"山西汾西电子科技股份有限公司","山西省","电子式单相预付费电度表","（图形商标）","DDSY194型/220V、10(10)A、1级","2015-05-05","合格","","国家电工仪器仪表质量监督检验中心"]
[10,"沈阳时尚实业有限公司","辽宁省","单相电子式电能表","FASHION","DDS482型/220V、10(60)A、2级","2015-02-03","合格","","国家电能表质量监督检验中心（江苏）"]
[11,"黑龙江龙电电气有限公司","黑龙江省","单相费控智能电能表","（图形商标）","DDZY52型/220V、5(60)A、2级 ","2015-06-06","合格","","国家电能表质量监督检验中心（江苏）"]
[12,"哈尔滨汇鑫仪器仪表有限责任公司","黑龙江省","单相费控智能电能表","/","DDZY660-Z型/220V、5(60)A、2级","2015-05","合格","","国家电能表质量监督检验中心（江苏）"]
[13,"哈尔滨电表仪器厂（集团）有限公司","黑龙江省","单相费控智能电能表","哈仪","DDZY105-Z型/220V、10(100)A、2级","2015-01-10","合格","","国家电能表质量监督检验中心（江苏）"]
[14,"黑龙江省电工仪器仪表工程技术研究中心有限公司","黑龙江省","单相费控智能电能表","龙研","DDZY1001-Z型/220V、5(60)A、2级","2015-07-02","合格","","国家电能表质量监督检验中心（江苏）"]
[15,"上海英孚特电子技术有限公司","上海市","电子式单相载波电能表","/","DDSI928型/220V、5(30)A、2级","2015-03","合格","","国家电能表质量监督检验中心（浙江）"]
[16,"上海联能仪表有限公司","上海市","单相费控智能电能表","/","DDZY809型/220V、5(60)A、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[17,"上海金陵智能电表有限公司","上海市","单相费控智能电能表","/","DDZY501-Z型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[18,"上海大华测控设备厂","上海市","电子式单相预付费电能表","/","DDSY879型/220V、10(40)A、1级","2015-06-15","合格","","国家电能表质量监督检验中心（浙江）"]
[19,"上海协霖电子有限公司","上海市","单相费控智能电能表","/","DDZY508型/220V、5(60)A、2级","2014-12","合格","","国家电能表质量监督检验中心（浙江）"]
[20,"国电南瑞三能电力仪表(南京)有限公司","江苏省","单相费控智能电能表","/","DDZY43-Z型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[21,"江苏华源仪器仪表有限公司","江苏省","单相费控智能电能表","/","DDZY268型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[22,"南京能瑞自动化设备股份有限公司","江苏省","单相费控智能电能表","（图形商标）","DDZY1800-Z型/220V、5(60)A、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[23,"宜兴市森维电子有限公司","江苏省","单相费控智能电能表","森维","DDZY1218型/220V、5(60)A、1级","2015-07-05","合格","","国家电能表质量监督检验中心（浙江）"]
[24,"江苏卡欧万泓电子有限公司","江苏省","单相费控智能电能表","/","DDZY2078C-Z型/220V、5(60)A、2级","2014-11","合格","","国家电能表质量监督检验中心（浙江）"]
[25,"无锡市恒通电器有限公司","江苏省","单相费控智能电能表","恒信","DDZY422型/220V、5(60)A、2级","2015-07-08","合格","","国家电能表质量监督检验中心（浙江）"]
[26,"江阴长仪集团有限公司","江苏省","单相费控智能电能表","/","DDZY135型/220V、5(60)A、2级","2015-05","合格","","国家电能表质量监督检验中心（浙江）"]
[27,"江阴众和电力仪表有限公司","江苏省","单相费控智能电能表","/","DDZY131-Z型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[28,"溧阳市华鹏电力仪表有限公司","江苏省","单相费控智能电能表","/","DDZY83-Z型/220V、5(60)A、2级","2015-05","合格","","国家电能表质量监督检验中心（浙江）"]
[29,"江苏丽阳电子仪表有限公司","江苏省","单相费控智能电能表","丽阳","DDZY162-Z型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[30,"江苏盛德电子仪表有限公司","江苏省","单相费控智能电能表","/","DDZY637-Z型/220V、5(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（浙江）"]
[31,"常州金源永利达电子科技有限公司","江苏省","单相电子式电能表","/","DDS54L型/220V、10(40)A、1级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[32,"江苏西欧电子有限公司","江苏省","单相费控智能电能表","xiou","DDZY288-Z型/220V、5(60)A、2级","2015-07-01","合格","","国家电能表质量监督检验中心（浙江）"]
[33,"江苏林洋电子股份有限公司","江苏省","单相费控智能电能表","/","DDZY71-Z型/220V、5(60)A、2级","2015-07-01","合格","","国家电能表质量监督检验中心（浙江）"]
[34,"扬州万泰电子科技有限公司","江苏省","单相费控智能电能表","/","DDZY520-Z型/220V、5(60)A、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[35,"江苏苏源杰瑞电表有限公司","江苏省","单相费控智能电能表","/","DDZY49C-Z型/220V、5(60)A、2级","2015-06-08","合格","","国家电能表质量监督检验中心（浙江）"]
[36,"华立仪表集团股份有限公司","浙江省","单相费控智能电能表","华立","DDZY285-Z型/220V、5(60)A、2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[37,"杭州炬华科技股份有限公司","浙江省","单相费控智能电能表","炬华科技","DDZY1296-Z型/220V 、5(60)A、 2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[38,"杭州海兴电力科技股份有限公司","浙江省","单相费控智能电能表","（图形商标）","DDZY208-Z型/220V 、5(60)A、 2级","2015-04","合格","","国家计量器具产品质量监督检验中心（上海）"]
[39,"杭州百富电子技术有限公司","浙江省","单相费控智能电能表","华隆","DDZY532C-Z型/220V 、5(60)A、 2级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[40,"宁波三星电气股份有限公司","浙江省","单相费控智能电能表","三星","DDZY188-Z型/220V 、5(60)A、 2级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[41,"德力西集团仪器仪表有限公司","浙江省","单相费控智能电能表","（图形商标）","DDZY607-Z型/220V、5(60)A、2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[42,"天正集团有限公司","浙江省","单相费控智能电能表","TENGEN","DDZY256-Z型/220V、5(60)A、2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[43,"浙江松夏仪表有限公司","浙江省","单相费控智能电能表","（图形商标）","DDZY722-Z型/220V 、5(60)A、 2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[44,"中南仪表有限公司","浙江省","单相费控智能电能表","中南","DDZY193-Z型/220V 、5(60)A、 2级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[45,"浙江正泰仪器仪表有限责任公司","浙江省","单相费控智能电能表","CHNT","DDZY666-Z型/220V 、5(60)A、 2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[46,"浙江晨泰科技股份有限公司","浙江省","单相费控智能电能表","RISESUN","DDZY217-J型/220V 、5(60)A、 2级","2015-05","合格","","国家计量器具产品质量监督检验中心（上海）"]
[47,"杭州西子集团有限公司","浙江省","单相电子式电能表","（图形商标）","DDS33型/220V、5(20)A、2级","2015-07-10","合格","","国家计量器具产品质量监督检验中心（上海）"]
[48,"环宇集团有限公司","浙江省","电子式单相电能表","（图形商标）","DDS881型/220V 、5(20)A、 1级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[49,"浙江百德尔电表有限公司","浙江省","单相电子式电能表","浙德","DDS2111型/220V 、10(40)A、 1级","2015-06-21","合格","","国家计量器具产品质量监督检验中心（上海）"]
[50,"浙江华夏仪表有限公司","浙江省","单相电子式电能表","华度","DDS633型/220V 、5(20)A、 1级","2015-05","合格","","国家计量器具产品质量监督检验中心（上海）"]
[51,"双吉电气有限公司","浙江省","单相电子式交流电能表","CHZSJ","DDS6868型/220V 、5(20)A、 2级","2015-04-05","合格","","国家计量器具产品质量监督检验中心（上海）"]
[52,"浙江三峰仪表有限公司","浙江省","电子式单相电能表","SNFN","DDS2227型/220V 、5(20)A、 1级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[53,"浙江恒业电子有限公司","浙江省","单相费控智能电能表","（图形商标）","DDZY119-Z型/220V 、5(60)A、 2级","2015-05-13","合格","","国家计量器具产品质量监督检验中心（上海）"]
[54,"浙江万胜电力仪表有限公司","浙江省","单相费控智能电能表","万胜","DDZY6-Z型/220V、5(60)A、2级","2015-07-12","合格","","国家计量器具产品质量监督检验中心（上海）"]
[55,"浙江永昌仪表有限公司","浙江省","电子式单相预付费电能表","（图形商标）","DDSY127型/220V 、10(40)A、 1级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[56,"宁波迦南电子有限公司","浙江省","单相费控智能电能表","迦友","DDZY149C-Z型/220V 、5(60)A、 2级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[57,"宁波伟吉电力科技有限公司","浙江省","单相费控智能电能表","WinGE","DDZY6000-Z型/220V 、10(40)A、 1级","2015-01","合格","","国家计量器具产品质量监督检验中心（上海）"]
[58,"安徽南瑞中天电力电子有限公司","安徽省","单相费控智能电能表","/","DDZY733-Z型/220V、5(60)A 、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[59,"漳州科能电器有限公司","福建省","单相费控智能电能表","科诺+KENUO+（图形）","DDZY832-M型/220V、5(60)A、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[60,"山东鲁正电子有限公司","山东省","单相电子式电能表","（图形商标）","DDS889型/220V、10(40)A、2级","2015-04","合格","","国家电工仪器仪表质量监督检验中心"]
[61,"青岛高科通信股份有限公司","山东省","单相费控智能电能表","（图形商标）","DDZY1506-Z型/220V、5(60)A、2级","2015-01","合格","","国家电工仪器仪表质量监督检验中心"]
[62,"青岛海达仪表有限公司","山东省","单相电子式电能表","（图形商标）","DDS997型/220V、5(20)A、1级","2014-11","合格","","国家电工仪器仪表质量监督检验中心"]
[63,"青岛金海迅科技有限公司","山东省","单相电子式预付费电能表","（图形商标）","DDSY483型/220V、10(40)A、1级","2015-05","合格","","国家电工仪器仪表质量监督检验中心"]
[64,"青岛乾程电子科技有限公司","山东省","单相费控智能电能表","iTechene 乾程科技","DDZY3699C-Z型/220V、5(60)A、2级","2015-07","合格","","国家电工仪器仪表质量监督检验中心"]
[65,"淄博贝林电子有限公司","山东省","单相电子式预付费电能表","（图形商标）","DDSY314型/220V、10(40)A、1级","2015-05","合格","","国家电工仪器仪表质量监督检验中心"]
[66,"烟台东方威思顿电气股份有限公司","山东省","单相费控智能电能表","（图形商标）","DDZY178型/220V、5(60)A、2级","2015-07","合格","","国家电工仪器仪表质量监督检验中心"]
[67,"潍坊五洲浩特电气有限公司","山东省","单相费控智能电能表","（图形商标）","DDZY522-Z型/220V、5(60)A、2级","2015-07","合格","","国家电工仪器仪表质量监督检验中心"]
[68,"新天科技股份有限公司","河南省","单相电子式预付费电能表","（图形商标）","DDSY201型/220V、10(40)A、1级","2015-07-01","合格","","国家电能表质量监督检验中心（浙江）"]
[69,"郑州三晖电气股份有限公司","河南省","单相电子式多费率电能表","（图形商标）","DDSF1316型/220V、5(60)A、2级","2015-04","合格","","国家电能表质量监督检验中心（浙江）"]
[70,"河南许继仪表有限公司","河南省","单相费控智能电能表","（图形商标）","DDZY566-Z型/220V、5(60)A、2级","2015-01-28","合格","","国家电能表质量监督检验中心（浙江）"]
[71,"河南金雀电气股份有限公司","河南省","单相电子式电能表","（图形）","DDS580型/220V、10(40)A、2级","2015-05-20","合格","","国家电能表质量监督检验中心（浙江）"]
[72,"武汉阿迪克电子股份有限公司","湖北省","单相费控智能电能表","（图形商标）","DDZY150-M型 /220V、5(60)A 、2级","2015-07","合格","","国家电能表质量监督检验中心（浙江）"]
[73,"武汉奥统电气有限公司","湖北省","单相费控智能电能表","（图形商标）","DDZY516型 /220V、5(60)A 、2级","2015-04-02","合格","","国家电能表质量监督检验中心（浙江）"]
[74,"武汉盛帆电子股份有限公司","湖北省","单相费控智能电能表","（图形商标）","DDZY395-Z型/220V、5(60)A 、2级","2015-07-04","合格","","国家电能表质量监督检验中心（浙江）"]
[75,"威胜集团有限公司","湖南省","单相费控智能电能表","（图形商标）","DDZY102C-Z型/220V、5(60)A、 2级","2015-05","合格","","国家计量器具产品质量监督检验中心（上海）"]
[76,"长沙希麦特电子科技发展有限公司","湖南省","单相电子式预付费电能表","（图形商标）","DDSY971型/220V 、10(40)A、 2级","2015-06","合格","","国家计量器具产品质量监督检验中心（上海）"]
[77,"怀化建南机器厂有限公司","湖南省","单相费控智能电能表","（图形商标）","DDZY6988-Z型/220V、5(60)A、2级","2015-07","合格","","国家计量器具产品质量监督检验中心（上海）"]
[78,"广东中钰科技股份有限公司","广东省","单相费控智能电能表","/","DDZY1202型/220V、5(60)A、2级","2014-11/f4022","合格","","国家电能表质量监督检验中心（江苏）"]
[79,"深圳市先行电气技术有限公司","广东省","单相费控智能电能表","/","DDZY2188型/220V、5(60)A、2级","2015-07/JH150032","合格","","国家电能表质量监督检验中心（江苏）"]
[80,"深圳市江机实业有限公司","广东省","单相电子式电能表","（图形商标）","DDS110 型/220V、10(60)A、2级","2014-08/20140709","合格","","国家电能表质量监督检验中心（江苏）"]
[81,"深圳深宝电器仪表有限公司","广东省","单相电子式电能表","/","DDS216型/220V、10(60)A、2级","2015-06","合格","","国家电能表质量监督检验中心（江苏）"]
[82,"深圳浩宁达仪表股份有限公司","广东省","单相电子式电能表","（图形商标）","DDS22型/220V、10(60)A、2级","2015-06/S05308001","合格","","国家电能表质量监督检验中心（江苏）"]
[83,"深圳市航天泰瑞捷电子有限公司","广东省","单相费控智能电能表","（图形商标）","DDZY876型/220V、5(60)A、2级","2015-07/1505004","合格","","国家电能表质量监督检验中心（江苏）"]
[84,"深圳长城开发科技股份有限公司","广东省","单相费控智能电能表","/","DDZY67-Z型/220V、5(60)A、2级","2015-07/GWKF-GW2014-012","合格","","国家电能表质量监督检验中心（江苏）"]
[85,"深圳市龙电电气有限公司","广东省","单相费控智能电能表","（图形商标）","DDZY51型/220V、5(60)A、2级","2015-07/220220150615001","合格","","国家电能表质量监督检验中心（江苏）"]
[86,"深圳市丕希仪表技术有限公司","广东省","单相电子式电能表","（图形商标）","DDS142型/220V、5(40)A、1级","2015-06-12","合格","","国家电能表质量监督检验中心（江苏）"]
[87,"深圳市科陆电子科技股份有限公司","广东省","单相费控智能电能表","（图形商标）","DDZY719型/220V、5(60)A、2级","2015-06/2014-D-852","合格","","国家电能表质量监督检验中心（江苏）"]
[88,"深圳市亿玛信诺科技有限公司","广东省","单相电子式预付费电能表","/","DDSY1000型/220V、10(40)A、1级","2015-07","合格","","国家电能表质量监督检验中心（江苏）"]
[89,"深圳华越南方电子技术有限公司","广东省","单相电子式电能表","Hexcell","DDS1088型/220V、10(40)A、1级","2015-07-14","合格","","国家电能表质量监督检验中心（江苏）"]
[90,"深圳市北电仪表有限公司","广东省","单相费控智能电能表","（图形商标）","DDZY1225-U型/220V、5(60)A、1级","2015-06","合格","","国家电能表质量监督检验中心（江苏）"]
[91,"珠海经济特区凯力电器有限公司","广东省","单相电子式电能表","（图形商标）","DDS160型/220V、10(60)A、2级","2015-04/201504001","合格","","国家电能表质量监督检验中心（江苏）"]
[92,"珠海国测电能仪表科技有限公司","广东省","电子式单相预付费电能表","（图形商标）","DDSY2型/220V、10(40)A、2级","2015-06/201505","合格","","国家电能表质量监督检验中心（江苏）"]
[93,"广东东方电讯科技有限公司","广东省","单相电子式电能表","（图形商标）","DDS177型/220V、10(60)A、1级","2015-09-02","合格","","国家电能表质量监督检验中心（江苏）"]
[94,"惠州中城电子科技有限公司","广东省","单相电子式电能表","（图形商标）","DDS1398型/220V、10(60)A、2级","2015-05","合格","","国家电能表质量监督检验中心（江苏）"]
[95,"广东雅达电子股份有限公司","广东省","单相电子式电能表","YADA","DDS3366型/220V、5(40)A、1级","2015-07-17","合格","","国家电能表质量监督检验中心（江苏）"]
[96,"重庆三立电器厂","重庆市","单相电子式电能表","（图形商标）","DDS20型/220V、10(40)A、2级","2015-02-02","合格","","国家电工仪器仪表质量监督检验中心"]
[97,"重庆华虹仪表有限公司","重庆市","单相电子式电能表","（图形商标）","DDS1311型/220V、5(20)A、2级","2015-07-02","合格","","国家电工仪器仪表质量监督检验中心"]
[98,"昆明天龙经纬电子科技有限公司","云南省","单相电子式载波电能表","/","DDSI1221J型/220V、5(40)A 、1级","2015-06-09","合格","","国家电能表质量监督检验中心（江苏）"]
[99,"昆明顺尔得电器仪表有限公司","云南省","电子式单相电能表","/","DDS1332型/220V、10(60)A 、2级","2015-05-30","合格","","国家电能表质量监督检验中心（江苏）"]
[100,"陕西群星表业有限责任公司","陕西省","单相电子式预付费电能表","（图形商标）","DDSY440型/220V、10(40)A、1级","2015-07-06","合格","","国家电工仪器仪表质量监督检验中心"]
[101,"西安中顺实业发展有限公司","陕西省","单相费控智能电能表","（图形商标）","DDZY183C-Z型/220V、5(60)A、1级","2015-07-02","合格","","国家电工仪器仪表质量监督检验中心"]
[102,"西安旌旗电子股份有限公司","陕西省","单相电子式预付费电能表","（图形商标）","DDSY121型/220V、10(40)A、1级","2015-07","合格","","国家电工仪器仪表质量监督检验中心"]
[103,"陕西银河电力仪表股份有限公司","陕西省","单相费控智能电能表","YINHE","DDZY251C-Z型/220V、5(60)A、2级","2015-05-22","合格","","国家电工仪器仪表质量监督检验中心"]
[104,"西安和幸科技实业有限公司","陕西省","单相电子式预付费电能表","（图形商标）","DDSY1173型/220V、10(40)A、1级","2015-06-17","合格","","国家电工仪器仪表质量监督检验中心"]
[105,"西安亮丽仪器仪表有限责任公司","陕西省","单相费控智能电能表","（图形商标）","DDZY411C-Z型/220V、5(60)A、2级"," 2015-05-12","合格","","国家电工仪器仪表质量监督检验中心"]
[106,"宁夏隆基宁光仪表有限公司","宁夏自治区","单相费控智能电能表","（图形商标）","DDZY1122型/220V 、5(60)A、2级","2015-03-13","合格","","国家计量器具产品质量监督检验中心（上海）"]
[107,"银川华能电力仪表有限公司","宁夏自治区","单相费控智能电能表","/","DDZY2100C-Z型/220V、5(60)A、2级","2015-05-29","合格","","国家计量器具产品质量监督检验中心（上海）"]
[108,"太原市恒一得电子科技有限公司","山西省","单相电子式预付费电能表","（图形商标）","DDSY1376型/220V、10(40)A、1级","2014-11","不合格","高频电磁场抗扰度","国家电工仪器仪表质量监督检验中心"]
[109,"太原市沃达电气技术有限公司","山西省","单相电子式预付费电能表","ALwinner","DDSY725型/220V、10(40)A、1级","2015-06","不合格","高频电磁场抗扰度","国家电工仪器仪表质量监督检验中心"]
[110,"哈尔滨今日电子有限公司","黑龙江省","单相电子式电能表","/","DDS1600型/220V、 5(30)A、1级","2014-12～2015-04","不合格","高频电磁场抗扰度、电快速瞬变脉冲群抗扰度","国家电能表质量监督检验中心（江苏）"]
[111,"杭州竞达电子有限公司","浙江省","单相电子式预付费电能表","（图形商标）","DDSY89型/220V 、5(40)A、 1级","2014-12","不合格","高频电磁场抗扰度","国家计量器具产品质量监督检验中心（上海）"]
[112,"人民电器集团仪器仪表有限公司","浙江省","单相电子式电能表","（图形商标）","DDS858型/220V 、10(40)A、 1级","2015-06","不合格","高频电磁场抗扰度","国家计量器具产品质量监督检验中心（上海）"]
[113,"浙江泰丰电表有限公司","浙江省","电子式单相电能表","荣丰","DDS794型/220V 、10(40)A、 1级","2015-05","不合格","交变湿热试验","国家计量器具产品质量监督检验中心（上海）"]
[114,"山东岳嘉电子有限公司","山东省","单相电子式预付费电能表","（图形商标）","DDSY1599型/220V、5(40)A、1级","2015-07","不合格","高频电磁场抗扰度","国家电工仪器仪表质量监督检验中心"]
[115,"广州凤凰仪表有限公司","广东省","单相电子式电能表","（图形商标）","DDS466型/220V、10(40)A 、1级","2015-06","不合格","电快速瞬变脉冲群抗扰度","国家电能表质量监督检验中心（江苏）"]
[116,"广州市智成电测仪表有限公司","广东省","单相电子式电能表","（图形商标）","DDS526型/220V、10(40)A、1级","2015-06","不合格","电快速瞬变脉冲群抗扰度","国家电能表质量监督检验中心（江苏）"]
[117,"为思电气（深圳）有限公司","广东省","单相电子式预付费电能表","LVE","DDSY803型/220V、10(40)A、1级","2015-05-09","不合格","高频电磁场抗扰度、电快速瞬变脉冲群抗扰度","国家电能表质量监督检验中心（江苏）"]
["","注：按行政区域排序。","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]