{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表","index":0,"n_rows":63,"n_cols":10,"rows_kept":63,"merged":[[1,1,1,9]],"flags":["formulas_cached_only"]}
[null,"附表1－30"]
[null,"膜式燃气表产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","所在省","产品名称","商标","规格型号","产品等级","生产日期/批号","抽查结果","承检机构"]
[1,"北京泰科先锋科技有限公司","北京市","智能膜式燃气表","Suman","CG-Z型 G4","1.5级","2015-04","合格","国家气体流量仪表质量监督检验中心"]
[2,"廊坊新奥燃气设备有限公司","河北省","膜式燃气表","ENN新奥","IC-G2.5-ld","1.5级","2015-06-05","合格","北京市计量检测科学研究院"]
[3,"大连日升燃气装备有限公司","辽宁省","膜式燃气表","SUNRISE","G2.5","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[4,"丹东热工仪表有限公司","辽宁省","膜式燃气表","丹热","J2.5C","1.5级","2015-07","合格","北京市计量检测科学研究院"]
[5,"辽宁思凯科技股份有限公司","辽宁省","膜式燃气表","（字母图形）","CG-WL-J2.5C-M","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[6,"沈阳市航宇星仪表有限责任公司","辽宁省","膜式燃气表","航宇星","G1.6","1.5级","2015-07","合格","北京市计量检测科学研究院"]
[7,"沈阳山城燃气仪表设备有限公司","辽宁省","膜式燃气表","（图形）","SC2-G2.5","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[8,"丹东岩谷东洋燃气表有限公司","辽宁省","膜式燃气表","DiTGM","G1.6","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[9,"上海克罗姆表业有限责任公司","上海市","膜式燃气表","Sh//krom","BK-G2.5","1.5级","2015-07","合格","北京市计量检测科学研究院"]
[10,"上海真兰仪表科技股份有限公司","上海市","膜式燃气表","ZENNER","G2.5S","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[11,"江阴市宏源燃气表有限公司","江苏省","膜式燃气表","绿宝石","J2.5A","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[12,"南京中元燃气仪表有限公司","江苏省","膜式燃气表","zy","G1.6（L）","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[13,"杭州贝特燃气表有限公司","浙江省","膜式燃气表","BETA","G2.5(S)","1.5级","2015-03","合格","北京市计量检测科学研究院"]
[14,"宁波东海气计量技术有限公司","浙江省","膜式燃气表","DH","GS2.5","1.5级","2015-04","合格","北京市计量检测科学研究院"]
[15,"杭州先锋电子技术股份有限公司","浙江省","智能燃气表（逻辑加密卡）","INVOVER","ICLBG2.5","1.5级","2015-05","合格","北京市计量检测科学研究院"]
[16,"浙江威星智能仪表股份有限公司","浙江省","IC卡膜式燃气表","（图形）","CG-FL-2.5","1.5级","2015-05","合格","北京市计量检测科学研究院"]
[17,"杭州鑫特仪表科技有限公司","浙江省","IC卡膜式燃气表","Sintta","CG-L-G1.6","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[18,"浙江蓝宝石仪表科技有限公司","浙江省","膜式燃气表","蓝宝石SAPPHIRE","G2.5B","1.5级","2015-05","合格","北京市计量检测科学研究院"]
[19,"德力西集团仪器仪表有限公司","浙江省","膜式燃气表","DELIXI","G2.5S","1.5级","2015-04","合格","北京市计量检测科学研究院"]
[20,"浙江荣鑫燃气表有限公司","浙江省","膜式燃气表","荣鑫","G2.5","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[21,"浙江正泰仪器仪表有限责任公司","浙江省","膜式燃气表","CHINT","G2.5S","1.5级","2015-05-15","合格","北京市计量检测科学研究院"]
[22,"浙江松川仪表科技股份有限公司","浙江省","膜式燃气表","松川","JBD2.5-SA","1.5级","2015-05","合格","北京市计量检测科学研究院"]
[23,"浙江三洲燃气表有限公司","浙江省","膜式燃气表","CNSZ","SZ-G2.5T","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[24,"金卡高科技股份有限公司","浙江省","IC 卡膜式燃气表","Goldcard金卡","JGML2.5F","1.5级","2015-06","合格","北京市计量检测科学研究院"]
[25,"安徽鸿力智能计量仪表设备有限公司","安徽省","膜式燃气表","鸿凌（图文）","J1.6","1.5级","2015-07","合格","国家气体流量仪表质量监督检验中心"]
[26,"安徽鸿凌机电仪表（集团）有限公司","安徽省","膜式燃气表","鸿凌","JL1.6","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[27,"铜陵欧克电气有限责任公司","安徽省","膜式燃气表","鼎容","JB1.6","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[28,"青岛积成电子有限公司","山东省","无线预付费智能燃气表","iESLab","iES-W100 G1.6","1.5级","2015-07","合格","国家气体流量仪表质量监督检验中心"]
[29,"荣成市宇翔实业有限公司","山东省","膜式燃气表","YUXIANG","G2.5B","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[30,"济宁蓝威智能燃气表有限公司","山东省","IC卡膜式燃气表","蓝威","CG-L-1.6","1.5级","2015-07","合格","国家气体流量仪表质量监督检验中心"]
[31,"重庆市界石燃气设备有限公司","重庆市","膜式燃气表","金球","J2.5","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[32,"重庆西美仪器仪表有限公司","重庆市","膜式燃气表","西美","J2.5","1.5级","2015-03","合格","国家气体流量仪表质量监督检验中心"]
[33,"重庆前卫克罗姆表业有限责任公司","重庆市","膜式燃气表","Qw//krom","BK-G2.5","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[34,"重庆茂余燃气设备有限公司","重庆市","膜式燃气表","茂余集团（图文）","J2.5","1.5级","2015-05-08","合格","国家气体流量仪表质量监督检验中心"]
[35,"重庆瑞力比燃气设备有限责任公司","重庆市","膜式燃气表","RLB","J2.5","1.5级","2015-05","合格","国家气体流量仪表质量监督检验中心"]
[36,"重庆市山城燃气设备有限公司","重庆市","膜式燃气表","山城SC（图文）","SC300 G2.5","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[37,"重庆精益仪表有限公司","重庆市","膜式燃气表","JY","J2.5","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[38,"四川海力智能科技有限公司","四川省","膜式燃气表","HL","HK-J2.5H","1.5级","2015-06","合格","国家气体流量仪表质量监督检验中心"]
[39,"成都秦川科技发展有限公司","四川省","膜式燃气表","秦川","G2.5","1.5级","2015-05","合格","国家气体流量仪表质量监督检验中心"]
[40,"成都市三宇仪表科技发展有限公司","四川省","膜式燃气表","三宇语表","G2.5","1.5级","2015-06-15","合格","国家气体流量仪表质量监督检验中心"]
[41,"四川泰鹏测控仪表科技有限公司","四川省","膜式燃气表","泰鹏","J2.5C","1.5级","2015-06-16","合格","国家气体流量仪表质量监督检验中心"]
[42,"成都千嘉科技有限公司","四川省","直读式远传燃气表","千嘉","ZQWW-J2.5","1.5级","2015-04","合格","国家气体流量仪表质量监督检验中心"]
["","注：按行政区域排序。","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]