{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表","index":0,"n_rows":43,"n_cols":10,"rows_kept":43,"merged":[[1,1,1,9]],"flags":["formulas_cached_only"]}
[null,"附表1－32"]
[null,"矿用传感器产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","所在省","产品名称","商标","规格型号","生产日期/批号","抽查结果","主要不合格项目","承检机构"]
[1,"煤炭科学技术研究院有限公司","北京市","甲烷传感器","/","GJC4(B)","2015-05","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[2,"北京中煤安泰机电设备有限公司","北京市","矿用甲烷传感器","/","GJC4","2015-07","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[3,"北京仙岛新技术有限责任公司","北京市","一氧化碳传感器","/","GTH500","2015-08","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[4,"天津中煤电子信息工程有限公司","天津市","甲烷传感器","/","GJC4","2015-06","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[5,"山西美安科技有限公司","山西省","低浓度甲烷传感器","/","GJC4","2015-07-01","合格","","国家煤矿安全计量器具产品质量监督检验中心"]
[6,"煤科集团沈阳研究院有限公司","辽宁省","甲烷传感器","/","GJC4(B)","2015-05","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[7,"长春东煤高技术股份有限公司","吉林省","甲烷传感器","/","GJC4(C)","2015-04、2015-05","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[8,"长春汇邦电子有限公司","吉林省","煤矿用一氧化碳传感器","/","GTH500","2014-10","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[9,"上海坤嘉自动化科技有限公司","上海市","煤矿用一氧化碳传感器","/","GTH1000","2015-03、2015-04","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[10,"常州迪泰科特测控设备有限公司","江苏省","矿用甲烷传感器","/","GJC4","2015-06","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[11,"镇江中煤电子有限公司","江苏省","电化学式一氧化碳传感器","/","GTH500","2015-07","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[12,"常州市铎煜矿用电子有限公司","江苏省","一氧化碳传感器","/","GTH1000","2014-06-13","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[13,"江苏三恒科技股份有限公司","江苏省","煤矿用甲烷传感器","/","GJC4","2015-07","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[14,"扬中市南方矿用电器有限公司","江苏省","煤矿用一氧化碳传感器","/","GTH1000","2015-08","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[15,"楠江集团有限公司","浙江省","矿用低浓度甲烷传感器","/","GJC4","2015-07","合格","","国家煤矿安全计量器具产品质量监督检验中心"]
[16,"三正集团股份有限公司","安徽省","煤矿用低浓度甲烷传感器","三正","GJC4","2015-05","合格","","国家煤矿安全计量器具产品质量监督检验中心"]
[17,"淄博瑞安特自控设备有限公司","山东省","矿用低浓度甲烷传感器","/","GJC4","2015-07","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[18,"广东德力喜电子科技有限公司","广东省","煤矿用一氧化碳传感器","/","GTH1000","2015-08","合格","","国家煤矿防爆安全产品质量监督检验中心"]
[19,"中煤科工集团重庆研究院有限公司","重庆市","低浓度甲烷传感器","CS","KG9701B","2015-07","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[20,"重庆梅安森科技股份有限公司","重庆市","低浓度甲烷传感器","/","KGJ28A","2014-12、2015-03","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[21,"重庆科安电子有限公司","重庆市","甲烷传感器","KEAN","GJC4(B)","2015-08","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[22,"重庆安仪煤矿设备有限公司","重庆市","甲烷传感器","(图形  商标)","GJC4","2015-05","合格","","国家煤矿防尘通风安全产品质量监督检验中心"]
[23,"陕西斯达煤矿安全装备有限公司","陕西省","低浓度甲烷传感器","国强","GJC4","2015-04","合格","","国家煤矿安全计量器具产品质量监督检验中心"]
[24,"西安西科测控设备有限责任公司","陕西省","矿用低浓度甲烷传感器","/","GJC4 (301)","2015-07","合格","","国家煤矿安全计量器具产品质量监督检验中心"]
[25,"常州市亚中监控设备有限公司","江苏省","煤矿用甲烷传感器","/","GJC4(A)","2015-02","不合格","常态下绝缘电阻、常态下介电强度","国家煤矿防尘通风安全产品质量监督检验中心"]
[26,"淮南中立电子有限责任公司","安徽省","甲烷传感器","/","GJC4(A)","2015-03-23","不合格","报警功能、高温工作","国家煤矿安全计量器具产品质量监督检验中心"]
[27,"北京鑫源九鼎科技有限公司河南分公司","河南省","甲烷传感器","/","GJC4","2015-06","不合格","高温工作","国家煤矿安全计量器具产品质量监督检验中心"]
[28,"武汉兴业华德威消防安全检测有限公司","湖北省","甲烷传感器","华德威.兴业","GJC4","2015-01","不合格","报警功能","国家煤矿安全计量器具产品质量监督检验中心"]
["","注：按行政区域排序。","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]