{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表","index":0,"n_rows":63,"n_cols":10,"rows_kept":63,"merged":[[1,1,1,9]],"flags":["formulas_cached_only"]}
[null,"附表1－31"]
[null,"冷水水表产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","所在省","产品名称","商标","规格型号","产品等级","生产日期/批号","抽查结果","承检机构"]
[1,"北京市自来水集团京兆水表有限责任公司","北京市","旋翼湿式冷水水表","京水","LXS-15","2级","2015-06","合格","国家水表质量监督检验中心"]
[2,"石家庄水业科技有限责任公司","河北省","旋翼冷水表","LingLiu","LXS型 DN20","2级","2015-07","合格","上海市计量测试技术研究院"]
[3,"石家庄丰源仪表有限公司","河北省","旋翼冷水表","冀腾","LXS DN20","2级","2015-06","合格","上海市计量测试技术研究院"]
[4,"唐山市自来水公司水表厂","河北省","旋翼湿式水表","清泉","LXS DN15","2级","2015-01","合格","上海市计量测试技术研究院"]
[5,"四平聚科仪表科技有限公司","吉林省","节水旋翼式冷水表","聚科","LXSF型 DN15","2级","2015-05","合格","上海市计量测试技术研究院"]
[6,"上海水表厂","上海市","旋翼湿式水表","上水","LXS-20E","2级","2015-06","合格","国家水表产品质量监督检验中心(宁波)"]
[7,"上海水务建设工程有限公司","上海市","旋翼式水表","申水","LXS-20C","2级","2015-06","合格","国家水表产品质量监督检验中心(宁波)"]
[8,"泰州金州水务有限公司","江苏省","旋翼式冷水液封水表","泰州","LXS-15F","2级","2015-05","合格","国家水表产品质量监督检验中心(宁波)"]
[9,"连云港水表有限公司","江苏省","旋翼式水表","浪花","LXS-20E","2级","2015-06-23","合格","国家水表产品质量监督检验中心(宁波)"]
[10,"连云港连利·福思特表业有限公司","江苏省","多流束湿式水表","连利","LXS-15E","2级","2014-09","合格","国家水表产品质量监督检验中心(宁波)"]
[11,"苏州自来水表业有限公司 ","江苏省","旋翼液封式冷水水表","瑞光","LXS-15F","2级","2015-06-11","合格","国家水表产品质量监督检验中心(宁波)"]
[12,"南京水务集团有限公司水表厂 ","江苏省","旋翼式E型水表","NJ","LXS-20E","2级","2015-05-27","合格","国家水表产品质量监督检验中心(宁波)"]
[13,"宁波埃美柯水表有限公司","浙江省","旋翼式湿式冷水水表","埃美柯","LXS-20E","2级","2015-03","合格","国家水表质量监督检验中心"]
[14,"宁波东海仪表水道有限公司","浙江省","旋翼式液封冷水水表","东海","LXSY-20E","2级","2015-05","合格","国家水表质量监督检验中心"]
[15,"宁波杰克龙水表有限公司","浙江省","旋翼式液封水表","杰克龙","LXSY-15E","2级","2015-06","合格","国家水表质量监督检验中心"]
[16,"宁波水表股份有限公司","浙江省","旋翼式湿式冷水水表","宁波","LXS-15E","2级","2015-06","合格","国家水表质量监督检验中心"]
[17,"慈溪市流量器厂","浙江省","旋翼式冷水水表","宁慈","LXS-15E","2级","2015-03","合格","国家水表质量监督检验中心"]
[18,"宁波佳洁水表有限公司","浙江省","旋翼式冷水表","佳洁","LXS-20E","2级","2015-04","合格","国家水表质量监督检验中心"]
[19,"宁波宁桥水表有限公司","浙江省","旋翼式冷水水表","宁桥","LXS-20E","2级","2015-06","合格","国家水表质量监督检验中心"]
[20,"杭州水表有限公司","浙江省","旋翼式冷水水表","杭水","LXS-20E","2级","2015-01","合格","国家水表质量监督检验中心"]
[21,"浙江华立利源仪表有限公司","浙江省","旋翼式冷水水表","华立","LXS-15E","2级","2015-03-23","合格","国家水表质量监督检验中心"]
[22,"浙江阳光纳米科技有限公司","浙江省","纳米尼龙旋翼式冷水水表","三纳","LXS-15E","2级","2015-06","合格","国家水表质量监督检验中心"]
[23,"慈溪市天宇仪表有限公司","浙江省","旋翼式冷水表","天宇","LXS-15E","2级","2015-04","合格","国家水表质量监督检验中心"]
[24,"慈溪市浙永水表有限公司","浙江省","旋翼式冷水水表","浙永","LXS-20E","2级","2015-01","合格","国家水表质量监督检验中心"]
[25,"宁波市埃美仪表制造有限公司","浙江省","旋翼式湿式水表","ASM","LXS-15E","2级","2015-04","合格","国家水表质量监督检验中心"]
[26,"福州中福水表有限公司","福建省","旋翼式冷水水表","中福","LXS-15","2级","2015-06","合格","国家水表质量监督检验中心"]
[27,"江西赣玛实业有限公司","江西省","旋翼湿式冷水水表","赣玛","LXSD-15","2级","2015-07","合格","国家水表质量监督检验中心"]
[28,"江西三川水表股份有限公司","江西省","旋翼湿式液封水表","三川","LXSY-20","2级","2015-07","合格","国家水表质量监督检验中心"]
[29,"临沂华龙仪表有限公司","山东省","旋翼湿式冷水水表（饮用水）","振翔","LXS系列 DN15","2级","2015-03","合格","上海市计量测试技术研究院"]
[30,"临沂汇泉仪表有限公司","山东省","冷水水表（饮用水）","汇泉","HQW 15","2级","2015-05","合格","上海市计量测试技术研究院"]
[31,"山东冠翔仪表有限公司","山东省","水平旋翼式饮用水冷水水表","冠翔","LXS-15","2级","2015-01","合格","上海市计量测试技术研究院"]
[32,"临沂市跃翔水表有限公司","山东省","旋翼式湿式水表（饮用水）","跃翔","LXS系列 DN15","2级","2015-07","合格","上海市计量测试技术研究院"]
[33,"山东三川水表有限公司","山东省","旋翼式湿式冷水水表（饮用水）","三川牌","LXS-15","2级","2015-07","合格","上海市计量测试技术研究院"]
[34,"临沂金海仪表制造有限公司","山东省","旋翼式湿式水表（饮用水）","沂蒙","LXS系列 DN15","2级","2015-05","合格","上海市计量测试技术研究院"]
[35,"临沂市亚翔水表有限公司","山东省","旋翼式水表（饮用水）","亚翔","LXS DN15","2级","2015-06","合格","上海市计量测试技术研究院"]
[36,"河南金雀电气股份有限公司 ","河南省","旋翼式冷水水表","金雀","LXS-15E","2级","2015-05","合格","上海市计量测试技术研究院"]
[37,"开封利源流量计有限公司","河南省","旋翼式冷水水表","汴水","LXS-15E","2级","2015-07","合格","上海市计量测试技术研究院"]
[38,"开封市汴京水表厂","河南省","旋翼式冷水水表","开封","LXS-20E","2级","2015-05","合格","上海市计量测试技术研究院"]
[39,"开封市京华水表厂","河南省","旋翼式冷水水表","京华","LXS-20E","2级","2015-05","合格","上海市计量测试技术研究院"]
[40,"商丘市清泉仪表有限公司","河南省","旋翼式冷水水表","清泉","LXS-20E","2级","2015-06","合格","上海市计量测试技术研究院"]
[41,"许昌瑞贝卡水表有限公司","河南省","旋翼式冷水水表","许新","LXS-20E","2级","2014-11","合格","上海市计量测试技术研究院"]
[42,"郑州自来水投资控股有限公司水表厂","河南省","旋翼湿式冷水水表","郑水","LXS-15E","2级","2015-01","合格","上海市计量测试技术研究院"]
[43,"开封市华瑞仪表有限公司","河南省","旋翼式冷水水表","瑞泉","LXS-15E","2级","2015-07","合格","上海市计量测试技术研究院"]
[44,"开封市盛达水表有限公司","河南省","旋翼式冷水水表","中华牌","LXS-15E","2级","2014-011","合格","上海市计量测试技术研究院"]
[45,"武汉汉水计量科技有限公司","湖北省","旋翼式(冷水)水表","汉水","LXS-20","2级","2015-06","合格","国家水表质量监督检验中心"]
[46,"武汉帝元表业有限公司","湖北省","旋翼式冷水水表","帝元","LXS DN20","2级","2015-02","合格","国家水表质量监督检验中心"]
[47,"湖南常德德山表业有限公司","湖南省","旋翼湿式冷水水表","德山","LXS-20E","2级","2015-07","合格","国家水表质量监督检验中心"]
[48,"广州市智成电测仪表有限公司","广东省","旋翼式湿式水表","智成","LXS-20E","2级","2015-05","合格","国家水表产品质量监督检验中心(宁波)"]
[49,"广州市自来水公司水表厂","广东省","旋翼湿式水表","（图形商标）","LXS-20E","2级","2015-07","合格","国家水表产品质量监督检验中心(宁波)"]
[50,"深圳市兴源鼎新科技有限公司","广东省","旋翼液封水表","通洋","LXS-20F","2级","2015-07-08","合格","国家水表产品质量监督检验中心(宁波)"]
[51,"桂林市桂水流量仪表有限公司","广西自治区","旋翼式液封冷水水表","桂水","LXS-20F","2级","2015-03","合格","国家水表产品质量监督检验中心(宁波)"]
[52,"重庆渝城水表厂","重庆市","旋翼式水表","渝城","LXS-15E","2级","2015-06","合格","国家水表产品质量监督检验中心(宁波)"]
[53,"重庆市渝北区渝都水表厂","重庆市","冷水水表","渝都","LXS-15CEF","2级","2015-04","合格","国家水表产品质量监督检验中心(宁波)"]
[54,"重庆智能水表集团有限公司","重庆市","水表","爱克能","LXS-15","2级","2015-06","合格","国家水表产品质量监督检验中心(宁波)"]
[55,"重庆市渝水仪表有限公司","重庆市","旋翼式水表","渝水","LXS-15","2级","2015-05-07","合格","国家水表产品质量监督检验中心(宁波)"]
[56,"成都日月产业发展股份有限公司","四川省","旋翼式水表","日月","LXS-20E","2级","2015-02-04","合格","国家水表产品质量监督检验中心(宁波)"]
[57,"成都市三宇仪表科技发展有限公司","四川省","旋翼式冷水水表","锦城","LXS-15E","2级","2015-05-13","合格","国家水表产品质量监督检验中心(宁波)"]
[58,"成都汇锦水务发展有限公司","四川省","旋翼式水表","蜀水","LXS-20E","2级","2015-02-17","合格","国家水表产品质量监督检验中心(宁波)"]
[59,"四川府星仪表有限公司","四川省","旋翼式水表","府星","LXS-15E","2级","2015-02","合格","国家水表产品质量监督检验中心(宁波)"]
["","注：按行政区域排序。","","","",""]