{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表","index":0,"n_rows":121,"n_cols":10,"rows_kept":121,"merged":[[1,1,1,9]],"flags":["formulas_cached_only"]}
[null,"附表1－29"]
[null,"热能（量）表产品质量国家监督抽查产品及其企业名单"]
["序号","企业名称","所在省","产品名称","商标","规格型号","产品等级","生产日期/批号","抽查结果","承检机构"]
["1","北京益都仪表成套厂","北京市","超声波热量表","益都","IC-3 DN25","2级","2015-01-28","合格","吉林省计量科学研究院"]
["2","北京嘉洁能科技有限公司","北京市","超声波热量表","嘉洁能科技","JJNH-25/40","2级","2015-05","合格","吉林省计量科学研究院"]
["3","北京添瑞祥仪器仪表有限公司","北京市","超声波热量表","添瑞","TRX-25","2级","2015-05","合格","吉林省计量科学研究院"]
["4","北京宏伟超达仪器制造有限公司","北京市","超声波热量表","/","WGR-11 DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["5","北京海林自控设备有限公司","北京市","超声波热能表","海林","HU-20","2级","2015-03","合格","吉林省计量科学研究院"]
["6","北京鸿豪兴达仪表有限公司","北京市","超声波热能表","/","HMS DN20","2级","2015-01-15/2015-04-08","合格","吉林省计量科学研究院"]
["7","伊斯塔计量技术服务（北京）有限公司","北京市","热能表","/","actego DN20","2级","2015-03-12","合格","吉林省计量科学研究院"]
["8","北京京源水仪器仪表有限公司","北京市","超声波热能表","/","JYSHM-20","2级","2015-07","合格","吉林省计量科学研究院"]
["9","天津亿通达科技发展有限公司","天津市","超声波热量表","/","ETH DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["10","威森节能科技（天津）有限公司","天津市","热量表","威森节能","UHM-1 DN20","2级","2015-06","合格","吉林省计量科学研究院"]
["11","中环天仪股份有限公司","天津市","超声波热量表","中环天仪","TAG DN20","2级","2015-03","合格","吉林省计量科学研究院"]
["12","天津万华股份有限公司","天津市","超声波热量表","津典","RN-2 DN20","2级","2015-03","合格","吉林省计量科学研究院"]
["13","天津市炳华节能技术有限公司","天津市","超声波热量表","华淼","HM-RC  DN25","2级","2015-02","合格","吉林省计量科学研究院"]
["14","天津创展同成科技发展有限公司","天津市","热量表","创展同成","CZTC-C DN25","2级","2015-04-28","合格","吉林省计量科学研究院"]
["15","天津市光大伟业计量仪表技术有限公司","天津市","超声波热量表","光大伟业","RL-2 DN20","2级","2015-05","合格","吉林省计量科学研究院"]
["16","中国电子科技集团公司第四十六研究所","天津市","热量表","CETC","XL-C DN25","2级","2015-06","合格","吉林省计量科学研究院"]
["17","天津创世科技发展有限公司","天津市","超声波热量表","/","CSC DN20","2级","2015-06","合格","吉林省计量科学研究院"]
["18","天津市金佳同达科技有限公司","天津市","智能热量表","/","JJRL DN20","2级","2015-06","合格","吉林省计量科学研究院"]
["19","丹佛斯（天津）有限公司","天津市","超声波热量表","/","UHM-1000 DN20","2级","2015-05","合格","吉林省计量科学研究院"]
["20","石家庄丰源仪表有限公司","河北省","超声波热能表","热友","JTH-DN25","2级","2015-07-06","合格","天津市计量监督检测科学研究院"]
["21","迁安市西奥仪表测控有限公司","河北省","超声波式热能表","西奥","DN25","2级","2015-03-02","合格","天津市计量监督检测科学研究院"]
["22","沧州市燕赵电子科技有限公司","河北省","热能表","澳捷","DN25","2级","2015-06-30","合格","天津市计量监督检测科学研究院"]
["23","河北天诺仪表有限公司","河北省","超声波热量表","汇正","LR DN25","2级","2015-05-18","合格","天津市计量监督检测科学研究院"]
["24","唐山汇中仪表股份有限公司","河北省","户用超声热量表","汇中","DN20","2级","2015-03","合格","天津市计量监督检测科学研究院"]
["25","承德龙志达智能仪器仪表科技有限公司","河北省","超声波热量表","龙志达","LCRY-25","2级","2015-04","合格","天津市计量监督检测科学研究院"]
["26","保定市领先电子科技开发有限公司","河北省","超声波热量表","领先科技","LX-DN25","2级","2015-06","合格","天津市计量监督检测科学研究院"]
["27","廊坊德能智能仪表有限公司","河北省","超声波热量表","德能 DN","DNRB-25F","2级","2015-07-01","合格","天津市计量监督检测科学研究院"]
["28","山西汾西电子科技股份有限公司","山西省","超声波热量表","（图形商标）","FCRL  DN25","2级","2015-03","合格","国家热工流量仪表质量监督检验中心（河北）"]
["29","晋城市天利达电子有限公司","山西省","热量表","天仑","TLDCR DN20","2级","2015-05","合格","国家热工流量仪表质量监督检验中心（河北）"]
["30","内蒙古新达科技股份有限公司","内蒙古自治区","超声波热能表","/","XD-C DN25","2级","2015-05-28","合格","国家热工流量仪表质量监督检验中心（河北）"]
["31","辽宁康顺实业有限公司","辽宁省","超声波式热量表","丹源","KS2511C01 DN25","2级","2015-03","合格","国家热工流量仪表质量监督检验中心（河北）"]
["32","沈阳市航宇星仪表有限责任公司","辽宁省","超声波热能表","（图形商标）","HYX-CS DN20","2级","2015-06","合格","国家热工流量仪表质量监督检验中心（河北）"]
["33","沈阳智新科技电子有限公司","辽宁省","超声波热量表","/","RZM DN25","2级","2015-05","合格","国家热工流量仪表质量监督检验中心（河北）"]
["34","大连环岛仪表有限公司","辽宁省","超声波热量表","（图形商标）","HDYB-Y  DN25","2级","2015-03-16","合格","国家热工流量仪表质量监督检验中心（河北）"]
["35","沈阳佳德联益能源科技股份有限公司","辽宁省","超声波热量表","（图形商标）","JDLY DN25","2级","2015-04-21","合格","国家热工流量仪表质量监督检验中心（河北）"]
["36","东澳热计量技术（大连）有限公司","辽宁省","超声波热量表","（图形商标）","DOAO-C DN25","2级","2015-05-25","合格","国家热工流量仪表质量监督检验中心（河北）"]
["37","丹东奥美霓仪器仪表有限公司","辽宁省","超声波热量表","（图形商标）","RL-B-25-A  DN25","2级","2015-07-06","合格","国家热工流量仪表质量监督检验中心（河北）"]
["38","大连金海伦科技有限公司","辽宁省","超声波热量表","（图形商标）","JHL-A DN25","2级","2015-05-08","合格","国家热工流量仪表质量监督检验中心（河北）"]
["39","大连世达科技有限公司","辽宁省","超声波热量表","/","SD-H DN25","2级","2015-04-16","合格","国家热工流量仪表质量监督检验中心（河北）"]
["40","绥中乾鼎科技有限公司","辽宁省","热量表","/","QD-RL-25C DN25","2级","2015-04-25","合格","国家热工流量仪表质量监督检验中心（河北）"]
["41","辽宁朗德仪表科技有限公司","辽宁省","热量表","/","LD-RC DN25","2级","2015-03-26","合格","国家热工流量仪表质量监督检验中心（河北）"]
["42","沈阳暖达智能仪器仪表有限公司","辽宁省","超声波热量表","暖达","NDCR  DN25","2级","2015-06-08","合格","国家热工流量仪表质量监督检验中心（河北）"]
["43","吉林省安亿家热能计量有限责任公司","吉林省","超声波热量表","（图形商标）","CSB-1 DN25","2级","2015-06-18","合格","国家热工流量仪表质量监督检验中心（河北）"]
["44","吉林市宏远仪表有限责任公司","吉林省","超声波热能表","红枫","HYRL  DN25","2级","2015-04-20","合格","国家热工流量仪表质量监督检验中心（河北）"]
["45","哈尔滨荣耀科技开发有限公司","黑龙江省","热能表","欧凯龙","RY-H  DN25","2级","2015-03-30","合格","国家热工流量仪表质量监督检验中心（河北）"]
["46","哈尔滨圣昌科技开发有限公司","黑龙江省","超声波热能表","（图形商标）","SCC DN25","3级","2015-03-25","合格","国家热工流量仪表质量监督检验中心（河北）"]
["47","黑龙江盛华霖科技发展股份有限公司","黑龙江省","超声波热量表","（图形商标）","SHLLR-25C  DN25","2级","2015-05-10","合格","国家热工流量仪表质量监督检验中心（河北）"]
["48","江苏迈拓智能仪表有限公司","江苏省","热量表","迈拓","MTH-6/DN25","3级","2015-06-30","合格","天津市计量监督检测科学研究院"]
["49","江苏杰克仪表有限公司","江苏省","超声波热量表","杰克","JUH-25","2级","2015-03/150103","合格","天津市计量监督检测科学研究院"]
["50","连云港腾越电子科技有限公司","江苏省","超声波热量表 ","鑫腾越","TYCR-DN25","2级","2015-03-20","合格","天津市计量监督检测科学研究院"]
["51","埃创仪表系统（苏州）有限公司","江苏省","Ultramaxx","Itron","DN20 QP2.5","2级","2015/29","合格","天津市计量监督检测科学研究院"]
["52","江苏丙辰电子有限公司","江苏省","超声波热量表 ","丙辰","BCLR-25C","2级","2015-05-16","合格","天津市计量监督检测科学研究院"]
["53","徐州润物科技发展有限公司","江苏省","超声波热量表","雨润","RWKJ 25CS","2级","2015-03-26","合格","天津市计量监督检测科学研究院"]
["54","苏州东剑智能科技有限公司","江苏省","热量表","东剑 dojustek","DJHM-DN25","2级","2015-04","合格","天津市计量监督检测科学研究院"]
["55","浙江铭仕管业有限公司","浙江省","超声波热量表","/","RC25A DN25","2级","2015-01-16","合格","国家热工流量仪表质量监督检验中心（河北）"]
["56","杭州富合仪表有限公司","浙江省","热量表","/","FHR-C-L  DN25","2级","2015-05","合格","国家热工流量仪表质量监督检验中心（河北）"]
["57","杭州富阳仪表总厂","浙江省","超声波热量表","（图形商标）","FY-RL-C DN25","2级","2015-03-25","合格","国家热工流量仪表质量监督检验中心（河北）"]
["58","宁波甬港仪表有限公司","浙江省","超声波热量表","（图形商标）","YG-RLM(C)  DN20","2级","2015-03","合格","国家热工流量仪表质量监督检验中心（河北）"]
["59","浙江佳和仪表有限公司","浙江省","超声波热能表","/","RLC-25 DN25","2级","2015-06","合格","国家热工流量仪表质量监督检验中心（河北）"]
["60","宁波百立康智能仪表有限公司","浙江省","超声波热量表","（图形商标）"," BLKR-C DN25","2级","2015-04-30","合格","国家热工流量仪表质量监督检验中心（河北）"]
["61","浙江欧德利科技有限公司","浙江省","超声波热量表","欧德利","RLB DN20","2级","2015-04","合格","国家热工流量仪表质量监督检验中心（河北）"]
["62","浙江佳友热能科技设备有限公司","浙江省","超声波热量表","暖友","RLCS DN25","2级","2015-04","合格","国家热工流量仪表质量监督检验中心（河北）"]
["63","浙江华仪电子工业有限公司","浙江省","超声波热量表","/","LYRB-US  DN25","2级","2015-03-20","合格","国家热工流量仪表质量监督检验中心（河北）"]
["64","浙江苍南仪表集团有限公司","浙江省","超声波热能表","東星","HQ-AU25  DN25","2级","2015-03","合格","国家热工流量仪表质量监督检验中心（河北）"]
["65","浙江恒森实业集团有限公司","浙江省","超声波热量表","（图形商标）","CRLB-A DN20","2级","2015-07-09","合格","国家热工流量仪表质量监督检验中心（河北）"]
["66","浙江永阳科技有限公司","浙江省","超声波式热量表","（图形商标）","RC  DN25","2级","2015-05","合格","国家热工流量仪表质量监督检验中心（河北）"]
["67","浙江博凯仪表有限公司","浙江省","超声波热量表","（图形商标）","BKCR  DN25","2级","2015-06-22","合格","国家热工流量仪表质量监督检验中心（河北）"]
["68","宁波镭蒙智能科技有限公司","浙江省","超声波热能表","（图形商标）","SM  DN25","2级","2015-04","合格","国家热工流量仪表质量监督检验中心（河北）"]
["69","华立仪表集团股份有限公司","浙江省","超声波热量表","/","HLM-CA DN25","2级","2015-04","合格","国家热工流量仪表质量监督检验中心（河北）"]
["70","合肥瑞纳表计有限公司","安徽省","超声波热量表","RUNA","RC型 DN20","2级","2015-05/150330    -003","合格","天津市计量监督检测科学研究院"]
["71","泉州七洋机电有限公司","福建省","热量表","ChiYoung","RL-2 DN20","2级","2015-06","合格","吉林省计量科学研究院"]
["72","青岛海威茨仪表有限公司","山东省","超声波式热量表","Hiwits","URT DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["73","山东智方仪表科技有限公司","山东省","超声波热量表","智方","DN25","2级","2015-06-29","合格","天津市计量监督检测科学研究院"]
["74","日照市鸿翔冷暖设备有限公司","山东省","超声波热能表","鸿翔","HXHM DN20","2级","2015-06","合格","吉林省计量科学研究院"]
["75","济南邦硕科技发展有限公司","山东省","超声波热量表",1694160,"BS-2009 DN25","2级","2015-03-11","合格","天津市计量监督检测科学研究院"]
["76","山东省德鲁计量科技有限公司","山东省","EUWZ超声波热能表","Delu","DN25","2级","2015-02","合格","天津市计量监督检测科学研究院"]
["77","临沂市环翔水表有限公司","山东省","超声波热能表","环翔","HXHM-20","3级","2015-06","合格","吉林省计量科学研究院"]
["78","山东康英斯自动化设备有限公司","山东省","超声波热量表","康英斯","KYS-DN20","2级","2015-06","合格","天津市计量监督检测科学研究院"]
["79","泰安轻松表计有限公司","山东省","超声波热能表","轻松","QSCR-25","2级","2015-06","合格","吉林省计量科学研究院"]
["80","山东和同信息技术有限公司","山东省","超声波热能表","和同","DN25","2级","2015-04-27","合格","天津市计量监督检测科学研究院"]
["81","山东欧标信息科技有限公司","山东省","超声波热量表","欧标","QBRC DN20","2级","2015-07-04","合格","天津市计量监督检测科学研究院"]
["82","威海米特智能仪表有限公司","山东省","热能表","米特","MT20","2级","2015-07","合格","吉林省计量科学研究院"]
["83","临沂市孝源水表有限公司","山东省","超声波热能表","孝源","DN25","2级","2015-07-21","合格","天津市计量监督检测科学研究院"]
["84","威海市天罡仪表股份有限公司","山东省","超声波式热量表","天罡仪表","RC DN20","2级","2015-02","合格","吉林省计量科学研究院"]
["85","代傲表计（济南）有限公司","山东省","超声波热量表","SHARKY/HYDROMETER","DN20","2级","2015-07-07","合格","天津市计量监督检测科学研究院"]
["86","胜利油田裕丰昌晖自动化仪表有限公司","山东省","热能表","裕丰 YFCH","YFCH-25","2级","2015-07","合格","天津市计量监督检测科学研究院"]
["87","山东晨晖电子科技有限公司","山东省","超声波热量表","科大晨晖","RLC DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["88","山东联强节能科技有限公司","山东省","超声波热量表","联强","QEM-A/DN25","2级","2015-05","合格","天津市计量监督检测科学研究院"]
["89","山东贝特智联表计股份有限公司","山东省","超声波热能表","BETTER","BRC DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["90","山东省经纬电讯器材有限公司","山东省","热能表","齐鲁经纬","DN25","2级","2015-04-17","合格","天津市计量监督检测科学研究院"]
["91","山东新宇科技发展有限公司","山东省","超声波热量表","新宇","XYCR20-25","2级","2015-03-27","合格","天津市计量监督检测科学研究院"]
["92","山东力创科技有限公司","山东省","热能表","LCKJ","LCR-U DN20","2级","2015-07","合格","吉林省计量科学研究院"]
["93","山东冠翔仪表有限公司","山东省","超声波热量表","冠翔牌","DN25","2级","2015-01","合格","天津市计量监督检测科学研究院"]
["94","威海欧迪智能仪表有限公司","山东省","热能表","oudd","ODM-II DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["95","山东圣轩节能科技有限公司","山东省","超声波热量表","第11560372号/圣轩","DN25","2级","2015-05-08","合格","天津市计量监督检测科学研究院"]
["96","山东飞龙仪表有限公司","山东省","FLU超声波热能表","飞龙","FLU-DN25","2级","2015-07","合格","天津市计量监督检测科学研究院"]
["97","山东亿普润新能源仪表有限公司","山东省","超声波热量表","R普润","YPRL-1 DN25","2级","2015-05","合格","天津市计量监督检测科学研究院"]
["98","日照岚山凯航热力有限公司","山东省","超声波热能表","/","KHRL-20","2级","2015-02","合格","吉林省计量科学研究院"]
["99","山东沂光热计量科技有限公司","山东省","超声波热量表","沂光","YGM-C25","2级","2015-03","合格","天津市计量监督检测科学研究院"]
["100","济宁五颗星表计有限公司","山东省","超声波热能表","五颗星","WKXCR-25","2级","2015-03","合格","吉林省计量科学研究院"]
["101","青岛积成电子有限公司","山东省","超声波热能表",6981883,"RC DN15-DN25","2级","2015-06-12","合格","天津市计量监督检测科学研究院"]
["102","山东精精仪表有限公司","山东省","热能表","JJYB","JR-U DN20","2级","2015-07","合格","吉林省计量科学研究院"]
["103","威海三实电器仪表有限公司","山东省","超声波热能表","SUNTS","SM DN25","2级","2015-03","合格","吉林省计量科学研究院"]
["104","潍坊奥博仪表科技发展有限公司","山东省","超声波热量表","AOBO","DN25","2级","2015-01-12","合格","天津市计量监督检测科学研究院"]
["105","山东海德瑞仪表股份有限公司","山东省","超声波热量表","海德瑞","U-HCFS DN25","2级","2015-05","合格","天津市计量监督检测科学研究院"]
["106","山东水立方电子有限责任公司","山东省","超声波热量表","水方","SLF-1-DN20","2级","2015-05-12","合格","天津市计量监督检测科学研究院"]
["107","新天科技股份有限公司","河南省","热量表（超声波）","新天","RLB-C","2级","2015-06","合格","天津市计量监督检测科学研究院"]
["108","湖南威铭能源科技有限公司","湖南省","超声波热量表","威胜","DN25","2级","2015-02","合格","天津市计量监督检测科学研究院"]
["109","广州柏诚智能科技有限公司","广东省","超声波冷热量表","BASIC","UHM-025 H/C DN25","2级","2015-05","合格","吉林省计量科学研究院"]
["110","重庆市伟岸测器制造股份有限公司","重庆市","超声波热量表","伟岸","UH25-3.5","2级","2015-02","合格","天津市计量监督检测科学研究院"]
["111","西安旌旗电子股份有限公司","陕西省","超声波热量表","旌旗","UHM-20","2级","2015-03","合格","吉林省计量科学研究院"]
["","注：按行政区域排序。","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]